## READ ME
SERVICE DEPENDENCY MAPPING TEMPLATE
Universal Edition ¦ For Technology Companies with Critical Services
WHAT IS THIS WORKBOOK?
Purpose: | Systematically identify, document, and analyze every dependency for each IT service. Use it to support SLA commitments, incident response, risk management, and DR planning.
Who should use it: | IT Operations, DevOps, Platform Engineering, Risk & Compliance, Service Management, Fintech Core Teams, Telco OSS/BSS teams.
Scope: | Covers IaaS/PaaS/SaaS providers, Telcos, Fintechs, IT-ODMS, MSPs, and any org with cascading service dependencies.
WORKBOOK STRUCTURE
Sheet 1 - README: | This guide. Read before filling anything in.
Sheet 2 - Service Register: | Master list of all services. Fill this first.
Sheet 3 - Infrastructure Deps: | Physical, virtual, and network layer dependencies.
Sheet 4 - Software Deps: | OS, application, middleware, integration, and security.
Sheet 5 - External Deps: | Vendors, cloud providers, regulatory requirements.
Sheet 6 - Dependency Chain Map: | How dependencies cascade from one component to another.
Sheet 7 - SPOF & Risk Register: | Single points of failure and cascade failure scenarios.
Sheet 8 - Recovery Sequences: | Ordered recovery playbook with RTOs and RPOs.
Sheet 9 - SLA Metrics Tracker: | Quantitative and qualitative operational metrics.
Sheet 10 - Action & Remediation Log: | Prioritized remediation items with ownership and status.
Sheet 11 - Sign-off & Governance: | Assessment versions, approvals, and review cadence.
CRITICALITY LEVEL DEFINITIONS
Critical: | Failure causes immediate, total service outage. No workaround available.
High: | Failure significantly degrades service within minutes. Limited workaround.
Medium: | Failure degrades service within hours. Viable workarounds exist.
Low: | Minor inconvenience. Full workarounds available.
DEPENDENCY TYPE DEFINITIONS
Hard: | Service cannot function at all without this component.
Soft: | Service degrades but continues to operate without this component.
Conditional: | Dependency applies only under specific conditions or load.
COLOR CODING
Red background: | Critical risk / P1 Priority / No mitigation in place
Orange background: | High risk / P2 Priority
Yellow background: | Medium risk / P3 / Action needed
Green background: | Low risk / Resolved / Compliant
Blue or italic text: | Sample/example data, replace with your own
Grey background: | Header, label, or read-only reference cell
HOW TO USE
Step 1: | Fill in Sheet 2 (Service Register) with all services you are assessing.
Step 2: | For each service, complete Sheets 3-5 (Infrastructure, Software, External deps).
Step 3: | Complete Sheet 6 (Dependency Chain Map) to visualize cascade paths.
Step 4: | Complete Sheet 7 (SPOF & Risk Register) to identify failure risks.
Step 5: | Document recovery sequences and RTOs in Sheet 8.
Step 6: | Track SLA metrics in Sheet 9. Log all remediation actions in Sheet 10.
Step 7: | Get sign-off and schedule reviews via Sheet 11.

## Service Register
SERVICE REGISTER Master Catalog of All Services Under Assessment
Service ID | Service Name | Service Code | Service Owner | Department | Service Category | Service Tier | Customer Facing | Revenue Bearing | Upstream Services (Depends On) | Downstream Services (Depended On By) | Target Uptime SLA (%) | Max Tolerable Downtime/Month (min) | Primary Data Store Type | Critical System Processes | Assessment Date | Assessed By | Assessment Status | Next Review Date | Notes
SVC-001 | Virtual Private Server Hosting | VPS-HOST | Jane Mwangi | Platform Eng | IaaS / Cloud | Tier 1-(Mission Critical) | Yes | Yes | SVC-005, SVC-009 | SVC-012, SVC-015 | 70 | 12960 | NoSQL |  | 2024-01-15 | John Otieno - Sr. Architect | Approved | 2025-01-15 | Core compute product
SVC-002 | Mobile Money Payment API | MM-PAY-API | Alice Njeri | Fintech Core | PaaS / Fintech | Tier 1 – Mission Critical | Yes | Yes | SVC-001, SVC-007 | SVC-018, SVC-020 | 80 | 8640 | Cache |  | 2024-01-15 | John Otieno - Sr. Architect | Approved | 2025-01-15
SVC-003 | Customer Self-Service Portal | CSS-PORTAL | Brian Oduya | EBU | SaaS / Enterprise | Tier 3-(Standard) | Yes | No | SVC-001, SVC-002 |  | 99 | 432 | Ephemeral |  | 2024-01-15 | John Otieno - Sr. Architect | Under Review | 2025-01-15

## Infrastructure Dependencies
INFRASTRUCTURE DEPENDENCIES Physical, Virtualization & Network Layers
3A: Physical Infrastructure
Service ID | Component Category | Component Name | Description | Location / Data Center | Criticality Level | Redundancy Status | Failure Impact | Est. Downtime on Failure | Recovery Approach | Owner / Vendor | Support Contract | Contract SLA | Last Tested
SVC-001 | Server Hardware | Dell PowerEdge R750 - Rack 3A | Physical compute hosts for VMs | DC-Primary | Critical | Active-Active (clustered) | Complete VM service failure | 4-8 hours | Auto-migration + manual repair | Dell / Internal IT | Yes - 4hr on-site | NBD 4-hour response | 2024-01-10
SVC-002 | Storage Array | Dell EMC PowerStore 500T | Primary SAN block storage | DC-Primary | Critical | Active-Passive (mirrored) | Data unavailability / IO errors | 2-4 hours | Cluster failover | Dell EMC | Yes | 4-hour response | 2023-12-01
SVC-004 | Power - UPS | APC Symmetra 30kVA | Uninterruptible power supply | DC-Primary | Critical | Dual feed + generator | Complete outage if generator fails | 30 min - 2 hours | Generator auto-start | APC / Facility | Yes | Same day | 2023-11-15
3B: Virtualization & Platform Layer
Service ID | Component | Platform Type | Dependency Type | Failure Impact | HA/DR Config | Estimated RTO (min) | Recovery Approach | Owner / Team | Notes
SVC-001 | OpenStack Controller | OpenStack (Yoga) | Hard | API unavailable - all VM ops fail | Active-Active (3-node) | 5-10 | Automatic HA failover | Platform Team | Pacemaker-managed cluster
SVC-001 | Kubernetes Control Plane | K8s 1.29 | Hard | No container scheduling - workloads continue running | 3-node etcd HA | 2020-10-01 | etcd restore + API server restart | DevOps
3C: Network Dependencies
Service ID | Link / Circuit Name | Type | Provider | Bandwidth | Criticality | Redundant Path | Provider SLA (%) | Failure Impact | Escalation Contact | BGP/Routing Deps | Notes
SVC-001 | Primary Internet: ISP-A | Transit Internet | Safaricom | 10 Gbps | Critical | Yes (ISP-B active) | 99.9 | External access loss - customer-facing impact | 0800-XXX-XXX (NOC 24/7) | BGP AS64512 | Primary uplink
SVC-002 | Payment Interswitch Link | Private Leased Line | Interswitch | 100 Mbps | Critical | Yes - MPLS backup | 99.99 | Payment processing fails completely | noc@interswitch.com | Static routing | Mission critical

## Software Dependencies
SOFTWARE DEPENDENCIES OS, Application, Integrations & Security Layer
4A: Operating System Layer
Service ID | OS / Platform | Version | Dependency Type | Patch Cadence | Support Status | EOL Date | Failure Impact | Owner / Team
SVC-001 | Ubuntu Server | 22.04 LTS | Hard | Monthly | Supported | 2027-04 | Service unavailable | Platform Team
4B: Application & Middleware Layer
Service ID | Application / Service | Function | Version | Dependency Type | Vendor / Maintainer | License | License Expiry | Failure Impact | Redundancy Config | Recovery Method | Owner / Team | Notes
SVC-001 | PostgreSQL | Primary relational DB | 15.x | Hard | PostgreSQL Global Dev Group | Open Source | N/A | All transactional data unavailable | Clustered | Auto failover | DBA Team
SVC-002 | Apache Kafka | Event streaming / async messaging | 3.6 | Hard | Apache / Confluent | Open Source | N/A | Payment event loss - critical | Clustered | Broker restart / DR | Platform Eng
SVC-002 | Redis | Session cache / rate limiting | 7.x | Soft | Redis Ltd. | RSAL (check version) | Annual | Degraded perf - DB fallback | Standalone | Auto-restart | DevOps
SVC-001 | Kong API Gateway | API routing / auth / rate limit | 3.x | Hard | Kong Inc. | Commercial | 2025-12-31 | API access fails | Active-Passive | Config restore | NetOps
4C: Integration & API Dependencies
Service ID | Integration Name | Direction | Protocol | Provider | Dependency Type | Failure Impact | Fallback / Retry Logic | Rate Limits | Auth Method | Provider SLA (%) | Notes
SVC-002 | Core Banking API | Bidirectional | REST/HTTPS | Internal – Core Banking | Hard | Payment processing fails | No | 500 req/min | OAuth 2.0 | 99.95 | Real-time balance checks
SVC-002 | SMS Gateway (Notify) | Outbound | REST | Twilio | Soft | No OTP / SMS alerts - fallback to email | Partial | 1000 msg/hr | API Key | 99.95 | Can switch to backup gateway
4D: Security Dependencies
Service ID | Security Component | Function | Dependency Type | Failure Impact | Expiry Date | Monitoring | Recovery Method | Owner | Notes
SVC-001 | Wildcard TLS Certificate | Encrypt all HTTPS traffic | Hard | All web traffic rejected | 2025-06-30 | Automated | Auto-renew (Let's Encrypt) | DevSecOps | Alert 30d before expiry
SVC-002 | Keycloak IAM / SSO | Auth & authorization | Hard | Login fails - all users locked out | N/A | Manual | Service restart / cluster failover | Security Team | Clustered HA setup

## External Dependencies
EXTERNAL DEPENDENCIES Vendors, Cloud Providers & Regulatory Requirements
5A: Vendor & Partner Dependencies
Service ID | Vendor / Partner | Category | Service Provided | Dependency Level | Contract Status | Contract Expiry | Vendor SLA | Historical SLA % | Escalation T1 | Alt. Vendor Available | Business Impact if Lost
SVC-001 | Dell Technologies | Hardware | Server & storage hardware + 4hr support | High | Active | 2026-03-31 | 4-hour on-site response | 98.5% | 0800-XXX-DELL | Yes - HPE | Extended hardware downtime
SVC-002 | Interswitch | Financial Network | Payment switching & settlement | Critical | Active | 2025-12-31 | 99.99% uptime | 97.59 | noc@interswitch.com | Partial, direct bank APIs | Payment processing halts
5B: Cloud & Managed Service Dependencies
Service ID | Cloud Provider / MSP | Service Used | Region / Zone | Criticality | Multi-Region Redundancy | Dependency Type | Provider SLA (%) | Failure Impact | Exit Plan Difficulty | Cost/Month (USD) | Notes
SVC-001 | AWS | S3 - Object Storage for Backups | af-south-1 | High | Yes | Soft | 99.9 | Backup restoration delayed | Medium | ~450 | Non-critical path only
SVC-002 | Cloudflare | DDoS Protection + WAF + CDN | Global | Critical | Yes (Anycast) | Hard | 98.7 | DDoS exposure + latency spike | High | ~1200 | Deeply integrated
5C: Regulatory & Compliance Dependencies
Service ID | Requirement / Standard | Governing Authority | Jurisdiction | Compliance Level | Current Status | Cert. Expiry | Audit Frequency | Failure / Non-compliance Impact | Responsible Owner | Notes
SVC-002 | CBRT / PSP Licensing | Central Bank / CBK | Kenya | Mandatory | Compliant | 2025-12-31 | Annual | Loss of license, cease operations | Chief Compliance Officer | Renewal 90d before expiry
ALL | ISO 27001 | UKAS Accredited Body | Global | Voluntary | Certified | 2025-09-30 | Annual surveillance audit | Reputational damage + client loss | CISO | Surveillance audit Q3
ALL | GDPR / Data Protection Act | ODPC Kenya | Kenya | Mandatory | Compliant | N/A | Annual | Legal penalties + regulator action | DPO | Annual impact assessment required

## Dependency Chain Map
DEPENDENCY CHAIN MAP Cascade Relationships Between Components
6A: Dependency Hierarchy Register
Service ID | Dep. Level | Component Name | Component Type | Depends On (Component) | Dependency Type | Cascade Risk | Notes
SVC-002 | L0 - Service | Mobile Money Payment API | Service |  |  |  | The service being assessed
SVC-002 | L1 - Direct | Core Banking API | Integration | SVC-002 (L0) | Hard | High | Real-time balance & transaction posting
SVC-002 | L1 - Direct | PostgreSQL DB | Software | SVC-002 (L0) | Soft | High | Stores all payment records
SVC-002 | L1 - Direct | Cloudflare WAF | External | SVC-002 (L0) | Hard | High | DDoS + API protection
SVC-002 | L2 - Second | Core Banking DB (Oracle) | Software | Core Banking API (L1) | Conditional | Critical | If Core Banking DB fails, API fails, then payment fails
SVC-002 | L2 - Second | Patroni PostgreSQL Cluster | Infrastructure | PostgreSQL DB (L1) | Hard | High | HA cluster underlying the DB
SVC-002 | L3 - Third | Physical SAN Storage | Infrastructure | Patroni Cluster (L2) | Soft | Critical | If SAN fails → DB fails → API fails → service fails
6B: Cascade Summary per Service
Service ID | Cascade Path Description | Longest Chain (# hops) | Weakest Link | Blast Radius (# services affected) | Affected Service IDs | Last Reviewed
SVC-002 | SAN Storage → PostgreSQL → Core Banking API → Payment API → Customer App | 4 | SAN Storage (no live replication) | 3 | SVC-002, SVC-003, SVC-018 | 2024-01-15
SVC-001 | Power → Physical Servers → Hypervisor → All VMs → All Hosted Services | 4 | Generator (single unit) | 8 | SVC-001, 002, 003, 004, 005, 006, 007, 008 | 2024-01-10
0
0
0
0
0
0
0
0
0
0

## SPOF & Risk Register
SPOF & RISK REGISTER Single Points of Failure & Cascade Failure Scenarios
7A: Single Points of Failure (SPOF)
SPOF ID | Service ID | Component | Layer | Risk Level | Impact Description | Affected Services | Current Mitigation | Mitigation Adequacy | Remediation Action | Remediation Owner | Target Date | Status
SPOF-001 | SVC-001 | Main Network Core Switch | Network | High | Entire data center network isolated – all services down | ALL | None (single unit) | None | Replace with stacked redundant pair | Network Team | 2024-Q2 | Open
SPOF-002 | SVC-002 | Payment Settlement DB (single node) | Software | Medium | All payment transactions fail – no record of in-flight payments | SVC-002, SVC-018 | Daily hot backups | Partial | Implement Patroni HA cluster | DBA Team | 2024-Q1 | In Progress
SPOF-003 | ALL | Single Generator Unit | Physical | High | Extended outage beyond UPS battery life (~30min) | ALL | UPS buffer (30min) | Partial | Install second generator with auto-switchover | Facilities | 2024-Q3 | Open
7B: Cascade Failure Scenarios
Scenario ID | Scenario Name | Trigger Event | Cascade Path | Total Impact | Services Affected | Customer Impact | Probability | Severity | Risk Score (P×S) | Current Mitigation | Detection Mechanism | Escalation Procedure
CFS-001 | Total Power Failure | Mains power + UPS failure | Power fail → UPS drain → All servers down → All services offline | Complete site outage, all services unavailable | ALL | Complete service unavailability | Low | Critical | 3 | UPS + generator + offsite DR | Power monitoring + Zabbix | L1 → L2 NOC → CTO (30min)
CFS-002 | Internet Peering Loss | Primary ISP BGP session drops + backup route fails | ISP-A down → ISP-B failover attempt fails → No external routing → Customer access lost | All external customers disconnected | SVC-001,SVC-002,SVC-003 | Complete external inaccessibility | Medium | High | 4 | Dual ISP with BGP failover | BGP session monitoring + Pingdom | NOC → Network Lead → CTO
CFS-003 | Database Corruption Event | Silent data corruption on primary DB | Primary DB writes corrupt data → Replica replicates corruption → Backup window missed | Data integrity failure it may require point-in-time restore | SVC-002 | Payment discrepancies - regulatory risk | Low | Critical | 3 | Checksums + WAL archiving + PITR backup | DB integrity checks | DBA → Security → CCO

## Recovery Sequences
RECOVERY SEQUENCES Ordered Recovery Playbook with RTOs & RPOs
8A: Recovery Sequence by Service
Service ID | Priority Order | Component to Recover | Prerequisite (Must Complete First) | Recovery Action / Runbook Ref | Responsible Team | Est. Time (min) | Cumulative RTO (min) | Parallel Possible | Verification Check | Escalation if Failed | Notes
SVC-002 |  | Power & UPS Systems | None - first step | Confirm mains restore → Test UPS → Confirm generator fuel | Facilities / Ops |  |  | No | All PDUs showing green - UPS at >80% charge | Facilities Manager
SVC-002 |  | Core Network (switches + routers) | Step 1 | Bring up core switches → Verify BGP sessions → Confirm routing | Network Team |  |  | No | Ping gateways + BGP neighbor state = Established | Network Lead | Run RB-NET-001
SVC-002 |  | Storage Systems (SAN) | Steps 1-2 | Power up SAN array → Wait for disk rebuild → Verify LUN availability | Storage / DBA |  |  | Yes (with Step 4) | All LUNs accessible + SMART checks pass | DBA Lead | Run RB-STOR-001
SVC-002 |  | Compute / Hypervisor Nodes | Steps 1-2 | Power on hypervisor hosts → Confirm cluster membership → Check datastores | Platform Eng |  |  | Yes (with Step 3) | All nodes in cluster + vCPU/RAM available | Platform Lead
SVC-002 |  | Database Layer (PostgreSQL HA) | Steps 3-4 | Confirm Patroni primary election → Verify replication → Run integrity checks | DBA Team |  |  | No | pg_isready + replication lag <1s + row count validation | DBA Lead | Run RB-DB-001
SVC-002 |  | Payment API & Application Services | Steps 1-5 | Deploy/start app containers → Health checks → Smoke test payment flow | DevOps |  |  | No | HTTP 200 on /health + test transaction succeeds | App Lead | Run RB-APP-001
8B: RTO / RPO Summary
Service ID | Target RTO (min) | Target RPO (min) | Achievable RTO (current) | Achievable RPO (current) | RTO Gap (min) | RPO Gap (min) | Last DR Test Date | DR Test Result | Gap Remediation Plan | Owner
SVC-002 | [6 empty] | 2024-01-10 | Partial Pass | Implement DB HA cluster, closes RPO gap. DR runbook refresh Q1. | DevOps Lead
SVC-001 | [6 empty] | 2023-12-15 | Pass | Storage replication improvement planned Q2 to reduce RTO. | Platform Lead

## SLA Metrics Tracker
SLA METRICS TRACKER Quantitative & Qualitative Operational Metrics
9A: Quantitative SLA Metrics
Service ID | Metric | Current Value | Target Value | Unit | Measurement Method | Frequency | Trend | Owner | Notes
SVC-002 | Mean Time to Detect (MTTD) | 4 | 3 | minutes | Monitoring alerts (Prometheus/Zabbix) | Real-time | Stable | NOC | Target: sub-3min by Q2
SVC-002 | Mean Time to Isolate (MTTI) | 12 | 2 | minutes | Incident log analysis | Weekly | Stable | Incident Mgmt
SVC-002 | Mean Time to Repair (MTTR) | 95 | 60 | minutes | Ticket resolution timestamps | Weekly | Improving | Ops Team | Down from 140min last quarter
SVC-002 | Mean Time Between Failures (MTBF) | 720 | 1140 | hours | Incident log | Monthly | Stable | Ops Team
SVC-002 | Monthly Availability | 99 | 99.99 | % | Uptime monitoring | Real-time | Improving | Ops Team | SLA breach risk
SVC-002 | SLA Breach Count (MTD) | 1 | 0 | count | SLA tracking system | Daily |  | Service Mgr | 1 breach on 2024-01-08: P2 incident
SVC-001 | Change-related Incident Rate | 8 | 3 | % | Change advisory data | Monthly | Stable | Change Mgr | CAB review recommended
9B: Qualitative Maturity Assessment
Service ID | Factor | Current Maturity (1-3) | Target Maturity (1-3) | Gap | Improvement Initiative | Initiative Owner | Target Date | Notes
SVC-002 | Runbook / Documentation Quality | 2 | 4 | 2 | Full runbook review and update - all P1 procedures verified | Tech Lead | 2024-Q2 | Currently 60% complete
SVC-002 | Monitoring Coverage | 5 | 2 | 0 | Deploy distributed tracing (Jaeger) + log aggregation (ELK) | DevOps | 2024-Q2
SVC-002 | Staff Expertise / Cross-training | 3 | 4 | 1 | Quarterly DR simulation + skill matrix mapping | HR + Tech Leads | 2024-Q3 | Single expert risk on DB
SVC-002 | Automation Level | 0 | 3 | 3 | Implement automated failover testing via chaos engineering | DevOps | 2024-Q4
SVC-002 | DR Readiness | 1 | 3 | 2 | Bi-annual full DR simulation with documented results | CTO Office | 2024-H2 | Last test was partial pass

## Action & Remediation Log
ACTION & REMEDIATION LOG Prioritized Remediation Tracker
Action ID | Source Sheet | Source Ref ID | Service ID | Action Description | Category | Priority | Effort Estimate | Cost Est. (USD) | Assigned Owner | Assigned Team | Due Date | Status | Completion Date | Verification Method | Notes / Blockers
ACT-001 | SPOF Register | SPOF-001 | SVC-001 | Install redundant core network switch (stacked pair) | Redundancy | P1 - Critical | 2 weeks | ~12,000 | Network Team Lead | Network Ops | 2024-02-15 | In Progress |  | Physical switch delivery confirmed - install scheduled | Dependent on DC maintenance window
ACT-002 | SPOF Register | SPOF-002 | SVC-002 | Implement Patroni HA cluster for payment settlement DB | Redundancy | P1 - Critical | 3 weeks | ~5,000 (infra) | DBA Lead | DBA + DevOps | 2024-02-01 | In Progress |  | DB cluster up in staging - prod migration next | Testing on staging complete
ACT-003 | SLA Metrics | 9B: Monitoring | SVC-002 | Deploy ELK stack + Jaeger tracing | Monitoring | P2 - High | 4 weeks | ~2,000 | DevOps Team | DevOps | 2024-03-31 | Not Started |  | Helm chart tested in dev | Budget approved
ACT-004 | Recovery Sequences | 8B: RTO Gap | SVC-002 | Refresh and validate all P1 recovery runbooks | Documentation | P2 - High | 1 week | - | Tech Lead | Platform + DBA | 2024-02-28 | Not Started |  | DR walkthrough to follow immediately
ACT-005 | SPOF Register | SPOF-003 | ALL | Install second generator with auto-switchover | Redundancy | P2 - High | 8 weeks | ~85,000 | Head of IT | IT + Facilities | 2024-Q3 | Not Started |  | Capex approval required | Procurement in progress
ACT-006 | SLA Metrics | 9B: Staff | SVC-002 | Quarterly DR simulation + skills matrix review | Training | P3 - Medium | Ongoing | - | HR + Tech Leads | All Tech Teams | 2024-Q3 | Planning |  |  | Schedule to align with iso27001 readiness
ACT-007 | External Deps | 5C: ISO | ALL | ISO 27001 surveillance audit preparation | Compliance | P3 - Medium | 6 weeks | - | CISO | Security + IT | 2024-08-01 | Planning |  | Evidence collection to begin Q2 | Audit date TBC with certifier

## Sign-off & Governance
SIGN-OFF & GOVERNANCE Version Control, Approvals & Review Cadence
11A: Version History
Version | Date | Author | Change Summary | Status
v1.0 | 2024-01-15 | John Otieno | Initial assessment - all services | Draft
v1.1 | 2024-01-22 | Jane Mwangi | Updated SVC-002 external deps + SPOF register | Under Review
v1.2 | 2024-02-01 | John Otieno | Incorporated review comments - sign-off pending | Approved
11B: Assessment Sign-off Register
Service ID | Assessed By | Assessment Date | Reviewed By | Review Date | Approved By | Approval Date | Next Scheduled Review | Review Trigger | Notes
SVC-001 | John Otieno - Sr. Architect | 2024-01-15 | Jane Mwangi - Platform Lead | 2024-01-22 | CTO | 0 | 2025-01-15 | Annual Review
SVC-002 | John Otieno - Sr. Architect | 2024-01-15 | Alice Njeri - Fintech Lead | 2024-01-22 | CTO | 0 | 2024-08-01 | Post-incident (major P1) | Triggered by Jan 8 incident
0
0
0
0
0
0
0
0
0
0
11C: Review Cadence Policy
Trigger Type | Review Frequency | Who Initiates | Who Must Approve | Max Time to Complete | Notes
Routine - no incidents | Annually | Service Owner | CTO / IT Director | 60 days | Schedule at start of year
Post-major incident (P1/P2) | Within 30 days of incident | Incident Manager | CISO + CTO | 30 days | Must include incident learnings
Significant infrastructure change | Within 14 days of change | Change Manager | Service Owner | 14 days | Linked to CAB process
New service onboarding | At go-live | Service Owner | CTO | 14 days | Required before production
Regulatory audit preparation | 60 days before audit | Compliance Officer | CISO | 30 days
Vendor / partner change (critical) | Within 30 days | Procurement / Service Owner | CTO | 30 days